SECTION 323113 – CHAIN LINK FENCES AND GATES

- GENERAL

      - SUMMARY

        - Related Documents:

          - Drawings and general provisions of the Subcontract apply to this Section.

          - Review these documents for coordination with additional requirements and information that apply to work under this Section.

        - Section Includes:

          - Fence framework, fabric, and accessories.

          - Excavation for posts.

          - Concrete encasement for posts.

          - Manual gates and related hardware.

        - Related Sections:

          - Division 01 Section "General Requirements."

          - Division 01 Section "Special Procedures."

      - REFERENCES

        - General:

          - The following documents form part of the Specifications to the extent stated. Where differences exist between codes and standards, the one affording the greatest protection shall apply.

          - Unless otherwise noted, the referenced standard edition is the current one at the time of commencement of the Work.

          - Refer to Division 01 Section "General Requirements" for the list of applicable regulatory requirements.

Federal Specifications (FS)

        - FS RR-F-191/1C Fencing, Wire and Post Metal (Chain-Link Fence Fabric)

        - State of California - California Department of Transportation (CALTRANS):

          - Standard Specifications: Chapter 80-4 excluding Section 80-4.04

        - American Society for Testing and Materials (ASTM)

          - ASTM A123 / A123M 	Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products

          - ASTM C94 / C94M 	Standard Specification for Ready-Mixed Concrete

          - ASTM D 412	Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers-Tension

          - ASTM D 792	Standard Test Methods for Density and Specific Gravity (Relative Density) of Plastics by Displacement

          - ASTM D 1499	Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Plastics

          - ASTM D 2240	Test Method for Rubber Property—Durometer Hardness

          - ASTM F 668	Standard Specification for Polyvinyl Chloride (PVC) and Other Organic Polymer-Coated Steel Chain-Link Fence Fabric

      - SUBMITTALS

        - Submit under provisions of Division 01 Section "General Requirements."

        - Submit shop drawings and product data.

          - Include accessories, fittings, hardware, anchorages, and schedule of components.

        - Manufacturer's installation instructions.

- PRODUCTS

      - MATERIALS

        - Vinyl Fencing: Materials for vinyl-coated chain link fence shall be as specified herein. Material shall be of the same color of vinyl coating.  Painted finishes are not acceptable.  The color for this job is the manufacturer's standard black as approved by the University.

        - Posts and Braces: Section 80-4.01A of CALTRANS

        - Fabric:  Section 80-4.01B of CALTRANS

        - Accessories:  Section 80-4.01C of CALTRANS

        - Gates:  Section 80-4.01D of CALTRANS

      - CONCRETE MIX

        - Concrete:  ASTM C 94; type II Portland Cement; 2500 psi at 28 days; 3-inch (75 mm) slump; 3/4-inch (20 mm) maximum size aggregate.

      - COMPONENTS

        - Line Posts: 2.375-inch (59 mm) outside diameter, Schedule 40 galvanized steel pipe or galvanized "H" columns weighing not less than 2.7 lb./ft (13.18 kg/m²).

        - Corner and Terminal Posts: 2.875-inch (73 mm) outside diameter, Schedule 40 galvanized steel pipe.

        - Gate Posts: 3.500-inch (89 mm) diameter for man gates and 6.625-inch (168 mm) diameter for vehicular gates; gateposts to be galvanized steel pipe.

        - Top, Bottom and Brace Rail: 1.660-inch (42.16 mm) outside diameter, plain end, sleeve coupled galvanized steel pipe.

        - Gate Frame: 1.9-inch (48.26 mm) outside diameter Schedule 40 galvanized steel pipe for fittings and truss rod fabrication.

        - Fabric/Vinyl Coated Steel: Chain link fence fabric shall be galvanized steel wire with a continuously bonded vinyl coating, with a finish size (i.e., size after coating) of 8 gauge, and shall comply with ASTM F 668.  Fabric height shall be 8 feet (2.44 m) , +/- 3/4 inch (20 mm), with knuckled, selvage edges on the bottom and top.  Mesh shall be vertically-woven diamond mesh, with a nominal distance of 2 inches (50 mm) between parallel wires.

        - Tension Bars: 3/16 inches by 3/4-inch (4.76 mm by 20 mm) galvanized steel flat bars.

        - Caps: Cast steel or malleable iron, galvanized, sized to post dimension, set-screw retained.

        - Fittings: Sleeves, bands, clips, rail ends, tension bars, fasteners and fittings shall be galvanized steel.

        - Extension Arms: Cast steel, to accommodate 3 strands of barbed wire, single arm, 12-inches (305 mm) high (measured vertically) above the top edge of the fence fabric, sloped to 45 degrees.

        - Barbed Wire: 12-AWG wire, 3 strands, zinc-coated steel with bonded vinyl coating and 4 point barbs at 5-inches (127 mm) O.C., painted black.

        - Gate Hardware: Fork type latch with gravity drop; center gate stop and drop rod; three 180 degree gate hinges per leaf.

        - Privacy Slats: Plastic fencing slats manufactured from 97 percent recycled plastic containing 97 percent post-consumer recycled plastic.

      - FINISHES

        - Galvanized Surfaces: Galvanize surfaces in accordance with ASTM A 123, with a coating of at least 1.20 oz/sq. ft.

        - Accessories and Components: Same finish as fabric.

      - VINYL COATING

        - The vinyl coating shall conform to FS RR-F-191/1C.

        - Colors shall be stabilized, and shall have a light fastness to withstand a minimum Weather-O-Meter exposure of at least 1500 hours without deterioration when tested in accordance with ASTM D 1499.

        - Specific gravity shall be between 1.26 and 1.30 in accordance with ASTM D 792.

        - Hardness shall be A90 +/-5 in accordance with ASTM D 2240.

        - Tensile strength shall be between 2600 and 3000 psi (17.94 MPa and 20.7 MPa) in accordance with ASTM D 412.

        - Vinyl coating shall be exposure-resistant to dilute solutions of most common mineral acids, sea water, salts, and alkali.

        - Vinyl coating shall be continuously bonded to the wire under 5000 psi (34.5 MPa) pressure before the wire is woven into fabric.

- EXECUTION

      - INSTALLATION

        - Install framework, fabric, accessories, and gates in accordance with section 80-4.02 of CALTRANS.

        - Install security fence of 8-foot (2.45 m) fabric height with 1-foot (0.9 m) barbed extension on support arms as shown on Drawings.

        - Space line posts at intervals not exceeding 10 feet (3 m).

        - Set gate and posts plumb, in concrete footings with top of footing 1 inch (25 mm) above finish grade. Slope top of concrete for water runoff.  Footings for line end and corner posts are to be 8 inches (203) diameter by 3 feet (0.09 m) deep below finish grade and for gates are to be 12 inches (305 mm) diameter by 3 feet 6 inches (1 m) deep below finish grade.

        - Provide top rail through line-post tops and splice with 7-inch (178 mm) long rail sleeves.

        - Brace each gate and corner post back to adjacent line post with horizontal center brace rail and diagonal truss rods.  Install brace rail, one bay from end and gate posts.

        - Install center and bottom brace rail on corner and gate leaves.

        - Stretch fabric between terminal posts or at intervals of 100 feet (30,5 m) maximum, whichever is less.

        - Position bottom of fabric to no more than 2 inches (50 mm) above concrete or asphalt grade and touching dirt finish grade.

        - Fasten fabric to top rail, line posts, braces, and bottom tension wire with 11-AWG galvanized wire ties 24 inches (610 mm) maximum on centers.

        - Attach fabric to end, corner, and gateposts with tension bars and tension bar clips.

        - Install bottom rail supported at each line and terminal post in such a manner that a continuous brace between posts is formed.

        - Install gates with fabric and barbed wire overhang to match fence. Install three hinges per leaf, latch, catches, drop bolt, foot bolts and sockets.

      - GROUNDING

        - 40 feet (13 m) on either side of overhead high voltage electrical transmission lines the fence is to be grounded as shown on the Drawings.

      - CONSTRUCTION WASTE MANAGEMENT

        - Conform with Division 01 Section “Construction Waste Management.”

        - Before concrete pours, designate locations or uses for excess concrete and a location for clean out water from concrete trucks. Designated locations shall meet environmental standards and conform with Section 7-1.01 of CALTRANS.

END OF SECTION 323113