## COVER
ACE PROJECT - REEE MEASURES
Qaraoun Solar Pumping System Barouk Solar Street Lighting Systems Greenhouse Clusters Solar Pumping Systems with Storage (Lot 3)
Bill Of Quantities
Client:

## Qaraoun Solar Pumping BOQ
ACE Project - Lot 3 REEE Measures Qaraoun Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | AC Connection: Solar pumping system to be connected to electrical room as per Annex 3, Annex 6, and contractor's design drawings. (Write the Quantity in 'Meters') |  | Meters
3 | General Items: Material submittals, weather station, lightning proctection system, earthing system, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Barouk SSL BOQ
ACE Project - Lot 3 REEE Measures Barouk Solar Street Lighting Systems - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation (Mandatory): Installation of a solar street lighting fixture as per Annex 3 and Annex 6. | 125 | Item
1 | Supply and Installation (Optional): Installation of a solar street lighting fixture as per Annex 3 and Annex 6. | 125 | Item
2 | General Items: Material submittals, T&C, one year O&M, O&M Manual, and training of operators, as per Annex 6. | 1 | Item
Total

## GH Clusters Solar Pumping BOQ
ACE Project - Lot 3 REEE Measures Greenhouse Clusters Solar Pumping Systems with Storage - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Hybrid solar system as per Annex 3, Annex 6, and the contractor’s design drawings. | 22 | Item
2 | Supply and Installation: Variable frequency drive(s) and replacement of existing pump with new irrigation pump - both as per Annex 3, Annex 6, and the contractor’s design drawings. | 22 | Item
3 | General Items: Material submittals, weather station, earthing system, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 22 | Item
Total